{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["Wykaz potrzeb rem budynki GMK","Lokale mieszkalne"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":2,"comments":111,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Wykaz potrzeb rem budynki GMK","index":0,"n_rows":220,"n_cols":25,"rows_kept":220,"cut":false,"hidden":false,"merged":[[3,24,4,24]],"flags":["formulas_cached_only"]}
[]
[null,null,null,"WYKAZY POTRZEB REMONTOWYCH ",null,null,"budynków w zarządzie ZBK na dzień 31.03.2015r."]
[{"$nulls":6},"w nieruchomościach stanowiących własność Gminy Miejskiej Kraków, w skład których wchodzą lokale mieszkalne"]
["Lp.","Adres","Nr budynku","Rodzaj budynku","Dekarskie","Ogólno-budowlane","Remont kominów","Elewacje","Rozbiórki","Projekty","Projekty BUD","Projekty W-K","Projekty CO","Projekty G","Projekty EL","Ekspertyzy","Malarskie","Instalacje wod-kan","Instalacje gazowe","Instalacje c.o.","Instalacje elektr.","Roboty brukarskie","Bramy wejściowe ","Roboty ślusarsko-stolarskie","Razem"]
[null,null,null,"M, U, M/U, P (1)","A","B","C","D","E","F","F1","F2","F3","F4","F5","G","H","I","J","K","L","M","N","O"]
[1,"29 Listopada ",20,"M",25000,25000,null,null,null,20000,9000,8000,null,null,3000,4000,{"$nulls":4},10000,null,null,3000,87000]
[2,"29 Listopada ","114a","M/U",null,28000,null,null,null,13000,10000,null,null,null,3000,{"$nulls":5},15000,null,null,null,56000]
[3,"Al.. Kasy Oszcz. Miasta Krakowa - \"Gajówka Domek Myśliwski\"",1,"M",{"$nulls":5},0,{"$nulls":14},0]
[4,"Augustiańska",18,"M/U",65000,20000,null,400000,null,29000,23000,null,null,6000,null,null,20000,null,30000,null,60000,null,null,null,624000]
[5,"Batorego",2,"M/U",80000,30000,80000,300000,null,20000,20000,{"$nulls":6},12000,null,null,60000,null,null,null,582000]
[6,"Benedykta",7,"M",null,null,null,200000,null,3000,{"$nulls":4},3000,null,70000,null,null,null,25000,null,null,null,298000]
[7,"Bieżanowska","32A (Oficyna)","M",30000,10000,null,null,null,0,{"$nulls":14},40000]
[8,"Bonarka",16,"M",null,null,null,150000,null,2000,{"$nulls":4},2000,null,50000,null,null,null,17000,null,null,null,219000]
[9,"Bonarka",28,"M",{"$nulls":5},5800,null,null,null,2800,3000,null,60000,null,18000,null,24000,null,null,null,107800]
[10,"Borkowska",7,"M",null,50000,null,null,null,0,{"$nulls":6},150000,{"$nulls":7},200000]
[11,"Borkowska",27,"M/U",null,50000,null,null,null,0,{"$nulls":14},50000]
[12,"Borkowska",29,"M/U",null,50000,null,null,null,0,{"$nulls":14},50000]
[13,"Chałubińskiego",41,"M",null,30000,null,null,null,10000,10000,{"$nulls":13},40000]
[14,"Chrobrego Bolesława",45,"M",null,null,19000,30000,null,22000,10000,12000,{"$nulls":5},105000,{"$nulls":5},4000,180000]
[15,"Cieślewskiego Ernesta",1,"M",null,15000,null,null,null,0,{"$nulls":9},6000,{"$nulls":4},21000]
[16,"Cieślewskiego Ernesta",3,"M/U",null,80000,null,null,null,0,{"$nulls":9},15000,{"$nulls":4},95000]
[17,"Cieślewskiego Ernesta",11,"M/U",null,35000,null,null,null,0,{"$nulls":9},10000,{"$nulls":4},45000]
[18,"Cybulskiego","5 (dz. 37, obr. 62, Śródmieście)","M/U",50000,30000,null,150000,null,20000,20000,{"$nulls":13},250000]
[19,"Czarnieckiego",6,"M",null,null,null,350000,null,8000,null,null,null,4000,4000,null,null,null,30000,null,63000,null,null,null,451000]
[20,"Czarnowiejska",23,"M/U",null,30000,null,null,null,0,{"$nulls":10},25000,null,null,null,55000]
[21,"Czysta",15,"M/U",null,null,null,360000,null,25000,25000,{"$nulls":5},60000,null,null,null,27500,null,null,null,472500]
[22,"Czysta",16,"M/U",null,null,null,360000,null,25000,25000,{"$nulls":5},80000,{"$nulls":7},465000]
[23,"Dąbrówki",7,"M/U",100000,30000,70000,null,null,7600,null,null,null,3600,4000,null,80000,null,20000,158000,42000,null,null,null,507600]
[24,"Dekerta",4,"M",null,20000,null,null,null,13000,null,null,10000,null,3000,null,10000,null,null,null,14000,null,null,10000,67000]
[25,"Dekerta",15,"M",{"$nulls":4},300000,30000,30000,{"$nulls":13},330000]
[26,"Długa",15,"M/U",null,null,null,505000,null,4000,{"$nulls":4},4000,null,18000,null,null,null,50000,null,12000,10000,599000]
[27,"Długosza",5,"M",{"$nulls":5},2500,{"$nulls":4},2500,null,60000,null,null,null,25000,30000,null,null,117500]
[28,"Długosza",7,"M/U",null,20000,null,null,null,7500,5000,null,null,null,2500,null,60000,null,null,150000,18000,null,15000,null,270500]
[29,"Do Wilgi",11,"M/U",140000,60000,170000,null,null,11000,null,7000,null,null,4000,null,24000,25000,null,200000,45000,50000,null,null,725000]
[30,"Dobrego Pasterza",119,"M",35000,10000,20000,45000,null,22000,22000,{"$nulls":4},10000,{"$nulls":8},142000]
[31,"Dobrego Pasterza","118a","M",10000,3000,14000,null,40000,5000,5000,{"$nulls":6},25000,{"$nulls":6},97000]
[32,"Dobrego Pasterza","118b","M",10000,3000,14000,null,50000,5000,5000,{"$nulls":6},95000,{"$nulls":6},177000]
[33,"Dobrego Pasterza","119A","M",45000,31000,null,120000,null,41000,25000,null,12000,null,4000,15000,10000,null,null,130000,20000,null,null,null,412000]
[34,"Dobrego Pasterza",6,"U/M",null,30000,null,null,null,8000,8000,{"$nulls":12},3000,41000]
[35,"Dworcowa",9,"M",{"$nulls":5},4150,null,4150,{"$nulls":4},80000,34150,{"$nulls":6},118300]
[36,"Dymarek",6,"M",{"$nulls":4},46125,3750,{"$nulls":4},3750,{"$nulls":5},99000,null,null,6480,155355]
[37,"Dymarek",8,"M",null,2000,null,null,46125,3750,{"$nulls":4},3750,{"$nulls":5},88500,null,null,6480,146855]
[38,"Dymarek",10,"M",{"$nulls":4},46125,3750,{"$nulls":4},3750,{"$nulls":5},88500,null,null,6480,144855]
[39,"Dymarek",12,"M",null,2000,null,null,46125,3750,{"$nulls":4},3750,{"$nulls":5},88500,null,null,6480,146855]
[40,"Działkowa",24,"M",{"$nulls":5},0,{"$nulls":7},5000,{"$nulls":6},5000]
[41,"Działkowa",26,"M",{"$nulls":5},0,{"$nulls":7},5000,{"$nulls":6},5000]
[42,"Działkowa",31,"M",{"$nulls":5},0,{"$nulls":14},0]
[43,"Działkowa",33,"M",{"$nulls":5},0,{"$nulls":14},0]
[44,"Fredry",63,"M",null,30000,null,null,null,2000,{"$nulls":4},2000,{"$nulls":5},7000,null,null,null,39000]
[45,"Fredry","32a","M",null,null,null,80000,null,2500,{"$nulls":4},2500,null,30000,null,null,null,21000,15000,5000,null,153500]
[46,"Fredry","4a","M",null,50000,null,100000,null,3500,{"$nulls":4},3500,{"$nulls":5},17000,null,null,null,170500]
[47,"Fredry","4b","M",{"$nulls":5},3500,{"$nulls":4},3500,null,50000,null,null,null,15000,null,null,20000,88500]
[48,"Fredry","4c","M",null,null,null,80000,null,3500,{"$nulls":4},3500,6000,{"$nulls":4},15000,null,null,null,104500]
[49,"Fredry","4d","M",null,null,null,200000,null,4000,{"$nulls":4},4000,{"$nulls":5},30000,null,null,null,234000]
[50,"Gertrudy",20,"M/U",50000,120000,40000,null,null,17000,5000,null,6000,6000,null,3500,25000,null,40000,25000,null,30000,null,null,350500]
[51,"Grochowa",36,"M",null,30000,null,null,null,0,{"$nulls":14},30000]
[52,"Grochowska",22,"M",30000,9000,null,280000,null,30000,30000,{"$nulls":5},75000,null,null,250000,null,10000,null,65000,749000]
[53,"Grochowska",24,"M/U",30000,9000,null,280000,null,30000,30000,{"$nulls":8},265000,300000,12000,null,65000,991000]
[54,"Grochowska",26,"M",30000,9000,null,280000,null,30000,30000,{"$nulls":5},75000,null,null,190000,200000,10000,null,65000,889000]
[55,"Grodzka",36,"M/U",50000,null,80000,200000,null,25000,25000,{"$nulls":13},355000]
[56,"Grottgera",12,"M",null,6000,null,null,null,0,{"$nulls":9},20000,{"$nulls":4},26000]
[57,"Heltmana",58,"M",null,20000,null,null,null,0,{"$nulls":6},30000,{"$nulls":5},5000,null,55000]
[58,"Herberta Zbigniewa (dawna Myślenicka 51)",12,"M",5000,{"$nulls":4},0,{"$nulls":11},20000,5000,null,30000]
[59,"Herberta Zbigniewa (dawna Myślenicka 53)",14,"M",{"$nulls":5},0,{"$nulls":11},20000,5000,null,25000]
[60,"Jagiellońska",12,"M/U",50000,null,null,300000,null,26000,20000,null,null,null,6000,{"$nulls":4},270000,24000,null,null,null,670000]
[61,"Jana Kantego Przyzby",9,"M",null,null,1500,20000,null,0,{"$nulls":14},21500]
[62,"Jana Kantego Przyzby",1,"M",null,null,null,20000,null,0,{"$nulls":14},20000]
[63,"Jana Kantego Przyzby",3,"M",null,null,3000,20000,null,0,{"$nulls":11},10000,null,null,33000]
[64,"Jana Kantego Przyzby",5,"M",null,null,3000,20000,null,0,{"$nulls":14},23000]
[65,"Jana Kantego Przyzby",7,"M",null,null,3000,20000,null,0,{"$nulls":14},23000]
[66,"Jana Kantego Przyzby",11,"M",null,null,1500,10000,null,0,{"$nulls":14},11500]
[67,"Jeziorko",42,"M",{"$nulls":5},0,{"$nulls":14},0]
[68,"Jeziorko","42A","M",{"$nulls":5},0,{"$nulls":14},0]
[69,"Jeziorko","42B","M",{"$nulls":5},0,{"$nulls":14},0]
[70,"Jeziorko","42C","M",{"$nulls":5},0,{"$nulls":14},0]
[71,"Jeziorko","42D","M",{"$nulls":5},0,{"$nulls":14},0]
[72,"Józefa",15,"M/U",null,15000,null,null,null,0,{"$nulls":14},15000]
[73,"Józefa",16,"M/U",{"$nulls":5},0,{"$nulls":8},220000,505000,null,null,null,320000,1045000]
[74,"Józefińska",24,"M",null,60000,null,null,null,34500,null,null,27500,7000,null,null,100000,null,60000,150000,5000,null,null,null,409500]
[75,"Józefińska","24a","M/U",null,80000,null,null,null,34500,null,null,27500,7000,null,null,100000,null,60000,150000,{"$nulls":4},424500]
[76,"Józefińska/Węgierska","14/18","U/M",30000,5000,null,null,null,0,{"$nulls":14},35000]
[77,"Kantorowicka",185,"M",{"$nulls":5},22260,null,null,null,14760,7500,null,10000,null,null,null,150000,30000,10000,15000,237260]
[78,"Kantorowicka",229,"M",null,110000,null,200000,null,17500,10000,null,null,null,7500,null,30000,null,null,null,330000,40000,null,25000,752500]
[79,"Kapelanka","24A","M",null,40000,null,null,50000,6500,6500,{"$nulls":11},6000,null,102500]
[80,"Kapelanka","24B","M",null,50000,null,null,null,0,{"$nulls":14},50000]
[81,"Kapelanka","24C","U/M",60000,40000,null,null,null,6000,null,null,null,6000,{"$nulls":4},30000,null,28000,null,null,null,164000]
[82,"Karmelicka",16,"M/U",null,50000,null,800000,null,30000,30000,{"$nulls":5},60000,null,25000,null,52000,null,null,null,1017000]
[83,"Kiełkowskiego",16,"M",null,15000,null,600000,null,29000,null,null,20000,null,9000,null,30000,24000,null,750000,126000,50000,25000,null,1649000]
[84,"Kijowska ",50,"M/U",null,12000,null,150000,null,33000,15000,null,15000,null,3000,{"$nulls":4},120000,55000,null,9800,null,379800]
[85,"Kijowska ",55,"M",60000,16000,20000,null,null,3000,{"$nulls":4},3000,{"$nulls":5},35000,null,12300,null,146300]
[86,"Klasztorna",6,"M",{"$nulls":5},6000,{"$nulls":4},6000,{"$nulls":5},30000,null,null,1230,37230]
[87,"Kłuszyńska",46,"M",null,5000,null,null,null,0,{"$nulls":14},5000]
[88,"Kobierzyńska",22,"M",{"$nulls":5},0,{"$nulls":14},0]
[89,"Kobierzyńska",95,"M",80000,40000,null,null,null,0,{"$nulls":10},20000,300000,null,null,440000]
[90,"Kobierzyńska",96,"M/U",null,140000,70000,null,null,3000,null,null,null,3000,{"$nulls":4},60000,null,18800,"300  000",null,null,291800]
[91,"Kobierzyńska","218A","M/U",null,50000,null,100000,null,3000,null,null,null,3000,{"$nulls":4},40000,{"$nulls":5},193000]
[92,"Kobierzyńska","218C","M",null,10000,null,null,null,3000,null,null,null,3000,{"$nulls":4},40000,{"$nulls":5},53000]
[93,"Kobierzyńska","218D","M",null,null,20000,100000,null,3000,null,null,null,3000,{"$nulls":4},40000,{"$nulls":5},163000]
[94,"Kolejowa",21,"M",{"$nulls":5},0,{"$nulls":14},0]
[95,"Komuny Paryskiej",3,"M",40000,20000,null,null,null,3000,null,null,null,3000,{"$nulls":4},40000,180816.93,null,200000,null,null,483816.93]
[96,"Kopce","8a","M/U",{"$nulls":4},10000,3000,3000,{"$nulls":13},13000]
[97,"Kordeckiego",5,"M/U",100000,40000,null,500000,null,44000,30000,4000,10000,{"$nulls":5},20000,null,84000,null,null,null,788000]
[98,"Kościuszki",18,"U/M",null,25000,40000,null,null,3000,{"$nulls":4},3000,null,20000,null,null,null,55000,null,20000,12000,175000]
[99,"Kościuszkowców",4,"M/U",{"$nulls":5},4000,{"$nulls":4},4000,{"$nulls":5},66000,null,null,null,70000]
[100,"Kościuszkowców",6,"U/M",35000,15000,null,null,null,20000,null,null,17000,null,3000,{"$nulls":4},104000,28000,null,null,null,202000]
[101,"Kościuszkowskie ","1a","M",null,10000,null,null,null,0,{"$nulls":14},10000]
[102,"Kościuszkowskie ","1b","M",null,10000,null,null,null,0,{"$nulls":14},10000]
[103,"Krakowska/ Węgłowa","29/1","M/U",300000,550000,200000,1200000,null,30000,30000,"x","x",null,"x",null,600000,null,null,"x",null,null,15000,null,2895000]
[104,"Krakusa",7,"M/U",null,null,null,50000,null,18000,15000,null,null,null,3000,{"$nulls":5},52000,null,null,null,120000]
[105,"Krakusa",30,"M",null,null,null,40000,null,17000,10000,null,null,4000,3000,null,12000,null,28000,null,49000,20000,null,null,166000]
[106,"Krasińskiego Zygmunta ",23,"U/M",20000,430000,80000,null,null,0,{"$nulls":14},530000]
[107,"Krokusowa",3,"M/U",null,40000,null,80000,null,0,{"$nulls":5},6000,null,null,null,500000,{"$nulls":4},626000]
[108,"Królowej Jadwigi",19,"M",null,30000,null,null,null,0,{"$nulls":6},20000,null,null,null,45000,null,null,null,95000]
[109,"Krzemieniecka",65,"M",null,5000,null,null,30000,3000,3000,{"$nulls":13},38000]
[110,"Krzemieniecka",67,"M",30000,10000,null,null,null,0,{"$nulls":14},40000]
[111,"Kurczaba",2,"M/U",35000,{"$nulls":4},0,{"$nulls":6},35000,{"$nulls":7},70000]
[112,"Lea",15,"M/U",120000,null,120000,null,null,55000,25000,null,15000,10000,5000,null,null,null,20000,220000,150000,null,40000,null,725000]
[113,"Limanowskiego",30,"M/U",null,null,null,20000,null,15000,5000,null,10000,null,null,null,5000,null,null,50000,{"$nulls":4},90000]
[114,"Limanowskiego",32,"M",120000,50000,null,100000,null,15000,15000,{"$nulls":5},25000,{"$nulls":4},60000,null,null,370000]
[115,"Lipowskiego",29,"M",null,null,10000,40000,null,0,{"$nulls":11},10000,null,null,60000]
[116,"Łobzowska",67,"M",40000,null,50000,null,null,0,{"$nulls":14},90000]
[117,"Łokietka",32,"M",15000,{"$nulls":4},0,{"$nulls":12},8000,null,23000]
[118,"Łużycka",16,"M/U",10000,{"$nulls":4},0,{"$nulls":14},10000]
[119,"Magnolii",6,"M",null,null,1500,5000,null,0,{"$nulls":14},6500]
[120,"Magnolii",8,"M",null,null,1500,5000,null,0,{"$nulls":14},6500]
[121,"Magnolii",10,"M",null,30000,1500,5000,null,0,{"$nulls":14},36500]
[122,"Malczewskiego",12,"U/M",{"$nulls":5},0,{"$nulls":14},0]
[123,"Mała Góra",14,"M",30000,15000,5000,null,null,0,{"$nulls":14},50000]
[124,"Marczyńskiego",7,"M/U",null,20000,null,null,null,0,{"$nulls":7},65000,{"$nulls":5},10000,95000]
[125,"Mirowska","157AB","M",30000,43000,20000,null,null,0,{"$nulls":6},30000,{"$nulls":4},150000,null,null,273000]
[126,"Mogilska","43b","M/U",null,null,10000,200000,null,11000,11000,{"$nulls":11},1500,null,222500]
[127,"Murowana",1,"M",null,10000,null,null,null,0,{"$nulls":14},10000]
[128,"Mycielskiego",11,"M/U",200000,150000,50000,null,null,7000,{"$nulls":4},7000,null,50000,null,null,null,50000,null,null,100000,607000]
[129,"Na Skarpie ",15,"M",{"$nulls":5},0,{"$nulls":9},250000,60000,null,null,null,310000]
[130,"Na Skarpie ",16,"M/U",null,285000,null,null,null,25535,15000,5000,5535,{"$nulls":6},210000,45000,null,null,null,565535]
[131,"Na Skarpie ",17,"M",null,4000,null,null,null,0,{"$nulls":10},70000,null,null,null,74000]
[132,"Na Skarpie ",18,"M",{"$nulls":5},0,{"$nulls":14},0]
[133,"Na Skarpie ",60,"M/U",null,null,null,350000,null,30750,30750,{"$nulls":5},60000,{"$nulls":6},15000,455750]
[134,"Na Wzgórzach ","39A","M",null,10000,null,null,null,0,{"$nulls":14},10000]
[135,"Nad Fosą",32,"U/M",40000,10000,null,null,null,20000,10000,10000,{"$nulls":5},50000,{"$nulls":5},10000,130000]
[136,"Nadwiślańska","4b","M",10000,5000,null,10000,null,5000,5000,{"$nulls":10},20000,null,null,50000]
[137,"Ojcowska",27,"U/M",140000,30000,null,null,null,0,{"$nulls":14},170000]
[138,"Ojcowska","27A","M/U",{"$nulls":5},0,{"$nulls":14},0]
[139,"Olszecka",41,"M",{"$nulls":5},0,{"$nulls":14},0]
[140,"Olszecka bud.mieszk.",18,"M",null,20000,null,30000,null,0,{"$nulls":14},50000]
[141,"Ostroroga",1,"M",null,10000,null,35000,null,0,{"$nulls":6},8000,null,null,60000,12000,15000,null,8000,148000]
[142,"Ostroroga",3,"M",null,10000,20000,null,null,0,{"$nulls":9},60000,12000,null,null,8000,110000]
[143,"Parkowa",10,"M",25400,5000,10000,20000,null,5000,null,null,5000,null,null,null,5000,null,2000,30000,2000,null,null,null,104400]
[144,"Partyzantów",4,"M",50000,null,5000,null,null,0,{"$nulls":7},76500,{"$nulls":6},131500]
[145,"Pawlickiego",10,"M",null,null,null,200000,null,25000,15000,null,10000,null,null,null,25000,null,null,180000,30000,null,null,null,460000]
[146,"Piłsudskiego",29,"U/M",20000,null,null,150000,null,20000,20000,{"$nulls":13},190000]
[147,"Pod Kopcem Al.",26,"M",30000,10000,null,null,null,8000,8000,{"$nulls":9},20000,null,null,null,68000]
[148,"Popiełuszki  bud. mieszkalny, bez dworku i bud. magazynowo-garażowego",36,"U/M",{"$nulls":4},10000,5000,5000,{"$nulls":13},15000]
[149,"Prokocimska",45,"M",20000,15000,null,null,null,10000,null,null,10000,{"$nulls":8},15000,null,null,60000]
[150,"Prokocimska",47,"M",null,15000,50000,15000,null,12000,null,2000,10000,{"$nulls":4},33000,null,null,null,15000,null,null,140000]
[151,"Prokocimska",49,"M",null,15000,50000,15000,null,12000,null,2000,10000,{"$nulls":4},33000,null,null,null,15000,null,null,140000]
[152,"Prokocimska",51,"M",45000,5000,50000,15000,null,17000,5000,2000,10000,{"$nulls":4},33000,null,null,null,15000,null,null,180000]
[153,"Prokocimska","51a","M",40000,5000,10000,10000,null,11000,5000,6000,{"$nulls":5},36000,null,null,10000,null,null,null,122000]
[154,"Prosta",7,"M",5000,20000,null,15000,null,5000,null,null,null,2500,2500,null,null,null,12000,null,20000,null,null,5000,82000]
[155,"Puszkarska",3,"M",null,5000,null,20000,null,5000,5000,{"$nulls":10},20000,null,null,50000]
[156,"Pychowicka",20,"M",{"$nulls":5},0,{"$nulls":5},20000,{"$nulls":8},20000]
[157,"Rękawka",33,"M",20000,20000,null,30000,null,3000,{"$nulls":4},3000,null,15000,null,null,null,35000,10000,null,2000,135000]
[158,"Rybitwy","69b","M",20000,10000,5000,30000,null,12000,null,12000,{"$nulls":4},5000,{"$nulls":4},10000,null,5000,97000]
[159,"Sadowa",58,"M",null,5000,null,null,null,0,{"$nulls":14},5000]
[160,"Sadowa",111,"M/U",30000,{"$nulls":4},0,{"$nulls":14},30000]
[161,"Sadowa",119,"M/U",null,20000,null,null,null,0,{"$nulls":14},20000]
[162,"Sadowa","113a","M/U",null,38300,null,null,5000,5500,null,5000,null,null,500,null,null,25000,null,null,13000,null,null,null,86800]
[163,"Sadowa",121,"U/M",{"$nulls":5},0,{"$nulls":14},0]
[164,"Sadowa",123,"U/M",null,20000,null,null,null,5500,null,5000,null,null,500,null,null,25000,null,null,13000,null,null,null,63500]
[165,"Sempołowskiej",6,"M",null,5000,null,30000,null,3000,{"$nulls":4},3000,null,5000,null,null,null,20000,5000,null,5000,73000]
[166,"Serkowskiego ",6,"M",null,null,null,80000,50000,13000,10000,null,null,null,3000,null,15000,null,null,null,30000,10000,null,null,198000]
[167,"Siemaszki",23,"M/U",null,20000,50000,null,8000,4000,4000,{"$nulls":8},40000,{"$nulls":4},122000]
[168,"Sikorki",15,"M/U",null,null,20000,null,null,50000,5000,20000,25000,{"$nulls":4},100000,null,70000,{"$nulls":4},240000]
[169,"Siostrzana",8,"M",null,10000,null,50000,null,2500,{"$nulls":4},2500,2500,5000,null,null,null,16000,null,5000,null,91000]
[170,"Skotnicka","86a","M",40000,null,10000,100000,null,0,{"$nulls":14},150000]
[171,"Skrzatów",5,"M",{"$nulls":5},0,{"$nulls":14},0]
[172,"Skrzatów",6,"M",10000,5000,null,null,null,0,{"$nulls":12},2000,null,17000]
[173,"Skrzatów",3,"U/M",30000,28000,null,null,null,20300,16300,null,null,null,4000,{"$nulls":5},24000,null,5000,5000,112300]
[174,"Sławka Walerego",56,"M",40000,20000,null,null,null,0,{"$nulls":13},5000,65000]
[175,"Sławkowska",14,"U/M",30000,15000,null,null,null,0,{"$nulls":7},40000,{"$nulls":6},85000]
[176,"Sołtyka",9,"M/U",null,25000,null,null,null,0,{"$nulls":14},25000]
[177,"Sołtysowska","10C","M/U",null,370000,null,null,null,0,{"$nulls":14},370000]
[178,"Stanisława Św.",4,"M",null,null,null,350000,null,35000,20000,5000,10000,null,null,null,30000,80000,null,140000,{"$nulls":4},635000]
[179,"Stare Wiślisko",39,"M",null,350000,null,null,null,0,{"$nulls":14},350000]
[180,"Straszewskiego",11,"M",50000,50000,null,350000,null,44000,30000,null,14000,null,null,null,25000,null,null,60000,null,null,18000,null,597000]
[181,"Stroma",5,"U/M",null,10000,null,null,null,0,{"$nulls":13},5000,15000]
[182,"Szewska front",4,"U/M",100000,100000,null,null,null,6000,6000,{"$nulls":5},15000,{"$nulls":7},221000]
[183,"Sztaudyngera",5,"U/M",null,null,null,40000,null,0,{"$nulls":6},5000,null,null,null,15000,null,null,null,60000]
[184,"Szujskiego",7,"M/U",80000,null,null,150000,null,20000,20000,{"$nulls":5},40000,{"$nulls":5},10000,null,300000]
[185,"Traugutta",10,"M",50000,30000,80000,null,null,3000,{"$nulls":4},3000,null,10000,null,null,216000,35000,5000,5000,10000,444000]
[186,"Twardowskiego",45,"M",null,20000,null,150000,null,20000,20000,{"$nulls":5},20000,30000,null,null,6000,30000,6000,null,282000]
[187,"Tyniecka",46,"M",null,null,40000,null,null,0,{"$nulls":10},12000,null,null,null,52000]
[188,"Tyniecka",48,"M",null,80000,null,null,60000,0,{"$nulls":10},12000,null,null,null,152000]
[189,"Tyniecka",90,"M",{"$nulls":20},0]
[190,"Ułanów",21,"M",null,15000,null,null,null,6000,null,null,6000,null,null,null,6000,null,null,50000,25000,null,null,null,102000]
[191,"Urzędnicza","52a","M",20000,30000,null,null,null,0,{"$nulls":6},45000,{"$nulls":5},25000,30000,150000]
[192,"Wawrzyńca",5,"M",null,50000,15000,400000,null,25000,25000,{"$nulls":5},25000,{"$nulls":5},15000,null,530000]
[193,"Wawrzyńca",11,"M",null,15000,null,10000,null,0,{"$nulls":12},5000,null,30000]
[194,"Wąska",4,"M",60000,15000,null,450000,null,25000,25000,{"$nulls":11},15000,null,565000]
[195,"Węgłowa","1a","M/U",null,100000,null,null,null,0,{"$nulls":14},100000]
[196,"Willowe ",35,"U/M",{"$nulls":5},0,{"$nulls":14},0]
[197,"Wolska",4,"M",null,10000,6000,20000,null,6000,{"$nulls":4},6000,null,80000,null,null,null,150000,5000,null,5000,282000]
[198,"Wolska",6,"M",null,70000,null,20000,null,6000,{"$nulls":4},6000,null,80000,null,null,null,150000,5000,null,null,331000]
[199,"Zabłocie","9a","M/U",null,25000,null,null,null,0,{"$nulls":6},5000,null,null,null,15000,null,5000,null,50000]
[200,"Zakamycze - \"Gajówka Zakamycze\"","35B","M",{"$nulls":5},0,{"$nulls":14},0]
[201,"Zakopiańska",101,"M",20000,15000,5000,null,null,4000,{"$nulls":4},4000,null,5000,null,null,null,40000,5000,null,null,94000]
[202,"Zakopiańska",103,"M/U",20000,10000,5000,null,null,4000,{"$nulls":4},4000,null,10000,null,null,null,40000,5000,null,null,94000]
[203,"Zakopiańska","72A","M",null,8500,null,50000,null,6000,null,null,4000,null,2000,{"$nulls":4},32000,15000,20000,10000,null,141500]
[204,"Zakopiańska","72B","M",null,50000,null,50000,null,12000,null,null,10000,null,2000,null,5000,null,null,75000,15000,20000,10000,null,237000]
[205,"Zakopiańska","72C","M",null,5000,15000,50000,null,6000,null,null,4000,null,2000,{"$nulls":4},25000,15000,20000,2500,null,138500]
[206,"Zamoyskiego",45,"M/U",20000,10000,null,null,null,10000,null,null,7000,null,3000,null,8000,null,null,170000,55000,null,null,null,273000]
[207,"Zawiła",67,"M",50000,{"$nulls":4},3000,null,null,null,3000,{"$nulls":4},15000,{"$nulls":5},68000]
[208,"Zbożowa","5-7","M",{"$nulls":5},0,{"$nulls":14},0]
[209,"Zielińskiego",7,"M/U",null,600000,null,null,null,20000,20000,{"$nulls":13},620000]
[210,"Zielone Os.",3,"M",30000,null,null,150000,null,10000,null,null,10000,{"$nulls":6},210000,{"$nulls":4},400000]
[211,"Zielony Dół - gajówka \"Nad Skałkami\"",15,"M",{"$nulls":5},0,{"$nulls":14},0]
[212,"Złotej Jesieni ","11a","M",null,50000,null,null,null,0,{"$nulls":6},60000,null,null,null,35000,null,10000,50000,205000]
[213,"Złotej Jesieni ","11b","M",null,50000,null,null,null,0,{"$nulls":6},60000,null,null,null,40000,null,10000,50000,210000]
[214,"Żmujdzka",30,"M",80000,45000,40000,null,null,10000,10000,{"$nulls":8},30000,null,null,10000,null,215000]
[{"$nulls":4},3415400,6121800,1704500,12520000,797500,1653895,935550,109150,320535,91660,197000,67000,2921000,956650,850000,6326816.93,4069800,1332000,363100,972150,44071611.93]

{"sheet":"Lokale mieszkalne","index":1,"n_rows":389,"n_cols":13,"rows_kept":389,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[{"$nulls":5},"WYKAZY POTRZEB REMONTOWYCH"]
[{"$nulls":5},"w nieruchomościach stanowiących własność Gminy Miejskiej Kraków oraz w budynkach wspólnot mieszkaniowych"]
[null,null,"Lokale mieszkalne ",null,null,null,"stan na dzień 31.03.2015r."]
[]
["Lp.","Adres","Stolarka okienna","Drzwi wejściowe","Roboty zduńskie","Podłogi","Ekspertyzy","Remont odgrzybieniowy","Ogólnobudowlane","Instalacje wod-kan","Instalacje gazowe","Instalacje c.o.","Instalacje elektr."]
[null,null,"A","B","C","D","E","F","G","H","I","J","K"]
[1,"ALBERTYŃSKIE 24/5","x"]
[2,"ALBERTYŃSKIE 28/60","x"]
[3,"ALBERTYŃSKIE 31/25","x"]
[4,"BABIŃSKIEGO 23b/28","x"]
[5,"BELINY PRAŻMOWSKIEGO 16B/12","x"]
[6,"BENEDYKTA 3/6A","x"]
[7,"BENEDYKTA 3/8","x"]
[8,"BENEDYKTA ŚW. 3/5A","x"]
[9,"BERKA JOSELEWICZA 3/13","x"]
[10,"BERKA JOSELEWICZA 5/10","x"]
[11,"BLACHNICKIEGO 8/19","x"]
[12,"BOGUSŁAWSKIEGO 10/10","x"]
[13,"BOHATERÓW GETTA  5/1","x"]
[14,"BOHATERÓW GETTA 16/17 ","x"]
[15,"BOHATERÓW GETTA 5/13","x"]
[16,"BOHATERÓW WIETNAMU 3/20","x"]
[17,"BOHATERÓW WIETNAMU 3/65","x"]
[18,"BOHATERÓW WIETNAMU 3/69","x"]
[19,"BOHATERÓW WRZEŚNIA 7/70","x"]
[20,"BOHATERÓW WRZEŚNIA 9/67","x"]
[21,"BONEROWSKA 14/10","x"]
[22,"BONEROWSKA 14/12","x"]
[23,"BONEROWSKA 14/15","x"]
[24,"BONEROWSKA 14/3 (dot 3a)","x"]
[25,"BOSACKA 8/7","x"]
[26,"BOŻEGO CIAŁA 8/5","x"]
[27,"BRODZIŃSKIEGO 7/6","x"]
[28,"BRONISŁAWY 23a/4","x"]
[29,"BUJWIDA 4/13","x"]
[30,"BUJWIDA 4/19","x"]
[31,"BUJWIDA 4/25","x"]
[32,"BUJWIDA 7/1","x"]
[33,"CELAROWSKA 16/5","x"]
[34,"CELAROWSKA 16/81","x"]
[35,"CELAROWSKA 16A/40","x"]
[36,"CELAROWSKA 26A/37","x"]
[37,"CELNA 11/1","x"]
[38,"CENTRUM A 1/165","x"]
[39,"CENTRUM A 11/53","x"]
[40,"CENTRUM A 5/35","x"]
[41,"CENTRUM B 10/1","x"]
[42,"CENTRUM B 2/18","x"]
[43,"CENTRUM C 3/38","x"]
[44,"CENTRUM C 6/4","x"]
[45,"CENTRUM C 6/51","x"]
[46,"CENTRUM C 8/3","x"]
[47,"CENTRUM C 9/99","x"]
[48,"CENTRUM D 1/56","x"]
[49,"CENTRUM E 16/28","x"]
[50,"CZAPSKICH 3/3","x"]
[51,"CZARNIECKIEGO 12/1","x"]
[52,"CZARNIECKIEGO 12/5 ","x"]
[53,"CZYSTA 19/15","x"]
[54,"CZYSTA 19/4","x"]
[55,"CZYSTA 19/5","x"]
[56,"DASZYŃSKIEGO 21A/18",null,null,null,"x"]
[57,"DASZYŃSKIEGO 25/8","x"]
[58,"DĄBROWSKIEGO 14/9","x"]
[59,"DĄBRÓWKI 7/5",null,"x"]
[60,"DIETLA  53/6a","x"]
[61,"DIETLA 11/13  ","x"]
[62,"DIETLA 27/9","x"]
[63,"DIETLA 48/9","x"]
[64,"DIETLA 61/7","x"]
[65,"DŁUGA 10/6","x"]
[66,"DŁUGA 10/6A","x"]
[67,"DŁUGA 10/7","x"]
[68,"DŁUGOSZA 15/12","x"]
[69,"DUNIN WĄSOWICZA 22/29","x"]
[70,"FABRYCZNA 25/9","x"]
[71,"FAŁATA 2/46","x"]
[72,"FELICJANEK 15/21","x"]
[73,"FRANCESCO NULLO 10/24","x"]
[74,"FRANCESCO NULLO 10/28A","x"]
[75,"FRANCESCO NULLO 12/56a","x"]
[76,"FRANCESCO NULLO 13/12","x"]
[77,"FRANCESCO NULLO 13/35","x"]
[78,"FRANCESCO NULLO 15/72","x"]
[79,"FRANCESCO NULLO 6/9","x"]
[80,"FRIEDLEINA 28a/41","x"]
[81,"FRIEDLEINA 28c/16","x"]
[82,"GLINIANA 7/26","x"]
[83,"GÓRALI 1/11","x"]
[84,"GÓRALI 2/7","x"]
[85,"GÓRNICKIEGO 10/2","x"]
[86,"GROCHOWA 36/1","x"]
[87,"GROCHOWSKA 22/2","x"]
[88,"GROCHOWSKA 22/21","x"]
[89,"GROCHOWSKA 22/5","x"]
[90,"GROCHOWSKA 22/6","x"]
[91,"GROCHOWSKA 24/26","x"]
[92,"GROCHOWSKA 26/2","x"]
[93,"GROCHOWSKA 26/33","x"]
[94,"GROTA ROWECKIEGO 35/30","x"]
[95,"GROTA ROWECKIEGO 41/1","x"]
[96,"GROTA ROWECKIEGO 41/29","x"]
[97,"GROTA ROWECKIEGO 41/35","x"]
[98,"GROTA ROWECKIEGO 41/7","x"]
[99,"GROTA ROWECKIEGO 46/16","x"]
[100,"GROTA ROWECKIEGO 57/91","x"]
[101,"HUTNICZE 2/57a","x"]
[102,"HUTNICZE 6/4","x"]
[103,"JAGIELLOŃSKIE 35/15","x"]
[104,"JAGIELLOŃSKIE 36/26","x"]
[105,"JAGIELLOŃSKIE 6/11","x"]
[106,"JAREMY 23/51","x"]
[107,"JAREMY 25/111","x"]
[108,"JÓZEFA 16/17","x"]
[109,"JÓZEFA 16/4","x"]
[110,"JÓZEFA 5/9","x"]
[111,"JÓZEFIŃSKA 24/12","x"]
[112,"JÓZEFIŃSKA 24/18","x"]
[113,"JÓZEFIŃSKA 24/27","x"]
[114,"JÓZEFIŃSKA 24/35","x"]
[115,"JÓZEFIŃSKA 24/38","x"]
[116,"JÓZEFIŃSKA 24a/1","x"]
[117,"JÓZEFIŃSKA 24a/23","x"]
[118,"JÓZEFIŃSKA 24a/24","x"]
[119,"JÓZEFIŃSKA 24a/31","x"]
[120,"KALINOWE 15/78","x"]
[121,"KALWARYJSKA 29/12","x"]
[122,"KALWARYJSKA 32/7","x"]
[123,"KALWARYJSKA 32/8","x"]
[124,"KALWARYJSKA 6/6","x"]
[125,"KANTORA 6/32","x"]
[126,"KANTOROWICKA 185/9","x"]
[127,"KAPELANKA 24b/6","x"]
[128,"KARMELICKA 16/2A","x"]
[129,"KAZIMIERZOWSKIE 29/245","x"]
[130,"KAZIMIERZOWSKIE 33/45","x"]
[131,"KAZIMIERZOWSKIE 8/72","x"]
[132,"KĄTOWA 2/4","x"]
[133,"KĄTOWA 2/8","x"]
[134,"KIELECKA 9/105","x"]
[135,"KIEŁKOWSKIEGO  16/2","x"]
[136,"KIEŁKOWSKIEGO  16/32","x"]
[137,"KIEŁKOWSKIEGO 16/25A","x"]
[138,"KIEŁKOWSKIEGO 16/3","x"]
[139,"KIEŁKOWSKIEGO 16/4","x"]
[140,"KOBIERZYŃSKA 218B/18","x"]
[141,"KOBIERZYŃSKA 60/47","x"]
[142,"KOBIERZYŃSKA 68/36","x"]
[143,"KOBIERZYŃSKA 68/39","x"]
[144,"KOBIERZYŃSKA 95/68","x"]
[145,"KOBIERZYŃSKA 96/119","x"]
[146,"KOBIERZYŃSKA 96/1-2","x"]
[147,"KOBIERZYŃSKA 96/131","x"]
[148,"KOBIERZYŃSKA 96/36","x"]
[149,"KOBIERZYŃSKA 96/42","x"]
[150,"KOLOROWE 13/32","x"]
[151,"KOLOROWE 24/17","x"]
[152,"KONOPNICKIEJ 3/1","x"]
[153,"KORDECKIEGO 5/11","x"]
[154,"KORDECKIEGO 5/17","x"]
[155,"KORDECKIEGO 5/7","x"]
[156,"KRAKOWIAKÓW 17/1","x"]
[157,"KRAKOWIAKÓW 3/25","x"]
[158,"KRAKOWSKA 13/13","x"]
[159,"KRAKUSA 7/10","x"]
[160,"KRASICKIEGO 21/88","x"]
[161,"KRASIŃSKIEGO 11c/24","x"]
[162,"KRASIŃSKIEGO 20/11","x"]
[163,"KRASIŃSKIEGO 22/5","x"]
[164,"KRASIŃSKIEGO 22/5a","x"]
[165,"KROWODERSKA 13/8","x"]
[166,"KROWODERSKA 4/13","x"]
[167,"KROWODERSKICH ZUCHÓW 11/70","x"]
[168,"KROWODERSKICH ZUCHÓW 23/10","x"]
[169,"KROWODERSKICH ZUCHÓW 23/70","x"]
[170,"KROWODERSKICH ZUCHÓW 9/105","x"]
[171,"KROWODERSKICH ZUCHÓW  9/56","x"]
[172,"KROWODERSKICH ZUCHÓW 9/72","x"]
[173,"KRZEMIENIECKA 67","x"]
[174,"KRZEMIONKI 3/1","x"]
[175,"KRZEMIONKI 3/13 ","x"]
[176,"KRZEMIONKI 3/1-9 ","x"]
[177,"KRZEMIONKI 3/2","x"]
[178,"KUTRZEBY 3/31","x"]
[179,"LEA 15/16","x"]
[180,"LEA 4/16","x"]
[181,"LEA 75/1","x"]
[182,"LEA 75/59","x"]
[183,"LENTZA 2/74","x"]
[184,"LENTZA 6/93","x"]
[185,"LIMANOWSKIEGO 32/5a","x"]
[186,"LIMANOWSKIEGO 4/1","x"]
[187,"LIMANOWSKIEGO 4/16","x"]
[188,"LIMANOWSKIEGO 4/24A","x"]
[189,"LIMANOWSKIEGO 4/26","x"]
[190,"LIMANOWSKIEGO 4/27","x"]
[191,"LIMANOWSKIEGO 4/30","x"]
[192,"LIMANOWSKIEGO 4/33","x"]
[193,"LIMANOWSKIEGO 4/4","x"]
[194,"LIMANOWSKIEGO 4/7A","x"]
[195,"LIMANOWSKIEGO 4/8","x"]
[196,"LUBLAŃSKA 20/85","x"]
[197,"LUBOMIRSKIEGO 37/23","x"]
[198,"LUBOMIRSKIEGO 37/3","x",{"$nulls":9},"x"]
[199,"LUBOMIRSKIEGO 37/8","x"]
[200,"LUBOMIRSKIEGO 37/9","x"]
[201,"LUBOMIRSKIEGO 5/19","x"]
[202,"LUBOMIRSKIEGO 7/18","x"]
[203,"ŁĄKOWA 14/29","x"]
[204,"ŁOBZOWSKA 39b/11","x"]
[205,"MADALIŃSKIEGO 16/22","x"]
[206,"MAKOWSKIEGO 18/39","x"]
[207,"MAKOWSKIEGO 8/37","x"]
[208,"MEISSNERA 33/60","x"]
[209,"MIECHOWITY 10/76","x"]
[210,"MIECHOWITY 13/2","x"]
[211,"MIECHOWITY 13/60","x"]
[212,"MITERY 12/9","x"]
[213,"MITERY 18/11","x"]
[214,"MITERY 18/3 ","x"]
[215,"MITERY 18/6","x"]
[216,"MITERY 18/9","x"]
[217,"MŁODOŚCI 8/49","x"]
[218,"MŁYŃSKA 11/20","x"]
[219,"MYCIELSKIEGO 11/3","x"]
[220,"MYCIELSKIEGO 11/4","x"]
[221,"NA KOZŁÓWCE 12/17","x"]
[222,"NA KOZŁÓWCE 12/36","x"]
[223,"NA KOZŁÓWCE 16/65","x"]
[224,"NA STOKU 22/29","x"]
[225,"NA STOKU 26/17","x"]
[226,"NA STOKU 3/14","x"]
[227,"NA STOKU 40/16","x"]
[228,"NA SZANIEC 23/48","x"]
[229,"NA SZANIEC 23/6","x"]
[230,"NA WZGÓRZACH 19/7","x"]
[231,"NA WZGÓRZACH 30/1","x"]
[232,"NA WZGÓRZACH 42/82","x"]
[233,"ODROWĄŻA 58/5-6","x"]
[234,"OKOLNA 13/52","x"]
[235,"OKOLNA 24/23","x"]
[236,"OKÓLNA 26/30","x"]
[237,"OKÓLNA 26/65","x"]
[238,"OKÓLNA 3/36","x"]
[239,"PALACHA 11/30","x"]
[240,"PALACHA 11/59","x"]
[241,"PAULIŃSKA 14/15","x"]
[242,"PIASTÓW 16/48","x"]
[243,"PIASTÓW 16/83","x"]
[244,"PIASTÓW 18/73","x"]
[245,"PIASTÓW 19/43","x"]
[246,"PIASTÓW 25/3","x"]
[247,"PIASTÓW 25/49","x"]
[248,"PIASTÓW 26/57","x"]
[249,"PIASTÓW 27/12","x"]
[250,"PIASTÓW 28/43","x"]
[251,"PIASTÓW 32/71","x"]
[252,"PLAC AXENTOWICZA 4/3","x"]
[253,"PLAC INWALIDÓW 3/202","x"]
[254,"POKOJU ALEJE 7/5","x"]
[255,"POMORSKA 3/12","x"]
[256,"POMORSKA 3/17","x"]
[257,"PRASKA 59/24","x"]
[258,"PRASKA 61/3","x"]
[259,"PRASKA 68A/9","x"]
[260,"PRAŻMOWSKIEGO BELINY 47/14","x"]
[261,"PRĄDNICKA 68A/120","x"]
[262,"PRUSA  23/11",null,"x"]
[263,"PRZY ARCE 11/37","x"]
[264,"PRZY ARCE 13/9","x"]
[265,"PRZY ARCE 9/16","x"]
[266,"PUSZKARSKA 3/6","x"]
[267,"RADZIKOWSKIEGO 66/51","x"]
[268,"RAKOWICKA 35/3","x"]
[269,"RĘKAWKA 12/6","x"]
[270,"RYDLA 16/14","x"]
[271,"RYDYGIERA 12/41","x"]
[272,"RYDYGIERA 15/27","x"]
[273,"RYDYGIERA 15/54","x"]
[274,"RYNEK KLEPARSKI 12/6","x"]
[275,"RYNEK PODGÓRSKI 4/12","x"]
[276,"RZEŹNICZA 5/10","x"]
[277,"RZEŹNICZA 6/39","x"]
[278,"SAWICZEWSKICH 46/1","x"]
[279,"SĄDOWA 1/11","x"]
[280,"SIEMASZKI 27A/40","x"]
[281,"SIEMIRADZKIEGO 13/4","x"]
[282,"SIEMIRADZKIEGO 13/9","x"]
[283,"SKRZYNECKIEGO 4/22","x"]
[284,"SŁONECKIEGO 3/90","x"]
[285,"SŁONECZNE 14/120","x"]
[286,"SŁONECZNE 14/30","x"]
[287,"SŁOWACKIEGO 11B/30","x"]
[288,"SŁOWACKIEGO 38/1","x"]
[289,"SMOLEŃSK 12/9","x"]
[290,"SOBIESKIEGO 14/6","x"]
[291,"SOBIESKIEGO 17/3","x"]
[292,"SOBIESKIEGO 17/8","x"]
[293,"SOLNA 4/1","x"]
[294,"SOLNA 4/7","x"]
[295,"SOŁTYSOWSKA 10/6","x"]
[296,"SOŁTYSOWSKA 10C/18","x"]
[297,"SPOKOJNA 7/1","x"]
[298,"SPORTOWE 12/20","x"]
[299,"SPORTOWE 27/37","x"]
[300,"SPÓŁDZIELCZE 1/46","x"]
[301,"SPÓŁDZIELCZE 1/6","x"]
[302,"STACHIEWICZA 29/68","x"]
[303,"STANISŁAWA ZE SKALBMIERZA 12/55","x"]
[304,"STAROWIŚLNA 29/30","x"]
[305,"STAROWIŚLNA 85/13A","x"]
[306,"STAROWIŚLNA 87/4","x"]
[307,"STRYCHARSKA 15/1","x"]
[308,"STRYCHARSKA 15/6","x"]
[309,"SYROKOMLI 15/8","x"]
[310,"SZKOLNE 35/45A","x"]
[311,"SZLAK 51/10","x"]
[312,"SZLAK 51/12","x"]
[313,"SZLAK 51/7","x"]
[314,"SZUJSKIEGO 7/1","x"]
[315,"TARGOWA 5/6A","x"]
[316,"TARNOWSKIEGO 5/13","x"]
[317,"TARNOWSKIEGO 5/3","x"]
[318,"TARNOWSKIEGO 5/7","x"]
[319,"TEATRALNE 15/20","x"]
[320,"TEATRALNE 25/8","x"]
[321,"TEATRALNE 31/48","x"]
[322,"TELIGI  16/60","x"]
[323,"TELIGI 10/67","x"]
[324,"TELIGI 14/33",{"$nulls":6},"x"]
[325,"TELIGI 16/4","x"]
[326,"TELIGI 18/4","x"]
[327,"TELIGI 20/58","x"]
[328,"TELIGI 22/46","x"]
[329,"TELIMENY 15/32","x"]
[330,"TOKARSKA 4/4","x"]
[331,"TOPAZOWA 3/50","x"]
[332,"TOPOLOWA 34/5","x"]
[333,"TRAUGUTTA 13/11","x"]
[334,"TRAUGUTTA 8/10","x"]
[335,"TWARDOWSKIEGO 51/2","x"]
[336,"TWARDOWSKIEGO 51/4","x"]
[337,"TWARDOWSKIEGO 51/9","x"]
[338,"UGOREK 1/64c","x"]
[339,"UROCZE 10/4","x"]
[340,"WAŁOWA 3/12","x"]
[341,"WAWRZYŃCA 32/11 ","x"]
[342,"WAWRZYŃCA 32/5","x"]
[343,"WAWRZYŃCA 32/8","x"]
[344,"WAWRZYŃCA 32/9 ","x"]
[345,"WĄSKA 4/41","x"]
[346,"WĄSKA 4/5","x"]
[347,"WEISSA 8/31","x"]
[348,"WĘGIERSKA 10/17","x"]
[349,"WIETORA 4/8","x"]
[350,"WILLOWE 12/9a","x"]
[351,"WIŚNIOWA 12/4","x"]
[352,"WŁODKOWICA 2/24","x"]
[353,"WŁODKOWICA 8/33","x"]
[354,"WOLNICA 8/14","x"]
[355,"WOLSKA 4/25","x"]
[356,"WOLSKA 6/28","x"]
[357,"WYBICKIEGO 3/100","x"]
[358,"WYSOKIE 11/28","x"]
[359,"ZACISZE 12/4","x"]
[360,"ZAMOYSKIEGO 32","x"]
[361,"ZAMOYSKIEGO 32/2","x"]
[362,"ZGODY 4/9","x"]
[363,"ZGODY 8/16","x"]
[364,"ZIELONE 13/4","x"]
[365,"ZIELONE 3/37","x"]
[366,"ZIELONE 5/18","x"]
[367,"ZŁOTEJ JESIENI 11A/11","x"]
[368,"ZŁOTEJ JESIENI 11A/13","x"]
[369,"ZŁOTEJ JESIENI 11A/34","x"]
[370,"ZŁOTEJ JESIENI 11b/16","x"]
[371,"ZŁOTEJ JESIENI 11B/25","x"]
[372,"ZŁOTEJ JESIENI 11B/26","x"]
[373,"ZŁOTEJ JESIENI 11b/3","x"]
[374,"ZŁOTEJ JESIENI 11B/8","x"]
[375,"ZŁOTEJ JESIENI11b/2","x"]
[376,"ZŁOTEJ JESIENI11b/23","x"]
[377,"ZWIERZYNIECKA 11/7","x"]
[378,"ZYBLIKIEWICZA 11A/13A",null,"x"]
[379,"ZYBLIKIEWICZA 17/12","x"]
[380,"ZYBLIKIEWICZA 5/67a","x"]
[381,"ZYGMUNTA AUGUSTA 3/9A",null,"x"]
[382,"ŻMUJDZKA 30/4","x"]
[383,"ŻÓŁKIEWSKIEGO 18/8","x"]